## Client Report
High Level Grid Tied Solar Feasibility
Building Name |  | Black chain,Katutura |  | Region
Building Address |  | Street, City |  | Connection Type | EL40
Building type |  | Commercial |  | Benchmark (kWh/m²/a) |  | kWh/m²/a
Gross Lettable Area |  | 3000 | m² | Est. Annual Consumption |  | kWh/year
Roof Space Available |  | 3000
Overview
|  |  | Current (Grid) | Solar PV Lease | Solar PV Buy (Outright) | Solar PV Buy (Green Loan)
Levelized cost of Energy
Total Saving per annum (levelized)
Total Saving over 20 year project period
Internal Rate of Return on Investment
Total Annual Energy cost (N$)
Cost of Energy from grid (Annual N$)
Cost of Energy from Solar (Annual N$) |  |  | 0
PV System
Total PV system cost including consulting fees (N$)
Green loan repayment (N$ per annum)
Green loan terms |  | 5 | years |  | 1.105 | % interest
Graph cumulative savings
Outright Purchase

## Dashboard
Solar PV Feasibility Dashboard
Metric | Value | Unit | Basis
Selected region |  |  | Dropdown on Inputs sheet
Regional kWh/kWp/year used |  | kWh/kWp/year | Auto pulled from Region Yields sheet
Model PV size |  | kWp | Minimum of desired, breaker and roof limit
No. of panels |  | panels | Default setup gives 703 panels
Year 1 energy (kWh) |  | kWh | PV size × selected region yield
Roof area required (m²) |  | m² | Panels × panel area ÷ roof factor
Area needed |  | m² | Same as roof area required
Year 1 cost of energy from grid |  | NAD | Year 1 energy × grid tariff
Year 1 cost of energy from solar |  | NAD | Year 1 energy × calculated solar LCOE
Year 1 gross savings (NAD) |  | NAD | Avoided grid cost before O&M
Year 1 O&M (NAD) |  | NAD | 1% of capital cost by default
Year 1 net savings (NAD) |  | NAD | Gross savings minus O&M
Cost from grid |  | NAD/kWh | Current grid tariff
Cost of energy from solar |  | NAD/kWh | Calculated discounted LCOE
Tariff less solar LCOE |  | NAD/kWh | Positive means solar is cheaper per kWh
IRR |  | % | Internal rate of return based on year 0 to year 20 net cash flow
Payback year |  | year | First year cumulative cash flow becomes positive
NPV |  | NAD | Discounted net cash flow
Capital cost |  | NAD | PV size × installed cost
Tariff vs LCOE Sensitivity
Scenario | Grid tariff | Solar LCOE | Year 1 benefit

## Inputs
Solar PV Feasibility Study Inputs
ConnectionType
Location
Input | Value | Unit | Note
Main breaker rating | 1000 | A | Editable
System voltage | 400 | V | Use 400 V for 3-phase. Use 230 V for single-phase.
Power factor | 90% |  | Editable
Margin | 20% |  | Editable design margin deducted from breaker capacity
Desired PV size | 350 | kWp | Default gives 703 panels with 550 W panels
Panel power | 550 | W | Editable panel/module rating
Area available | 3000 | m² | Editable available roof/ground area
Panel area | 2.6 | m²/panel | Editable panel area
Roof factor | 0.75 |  | Allowance for setbacks, access ways and unusable roof area
Specific yield |  | kWh/kWp/year | Auto-populates from selected region
Grid Tariff | 2.367 | NAD/kWh | Editable current grid energy tariff
Lease/PPA tariff | 1.749 | NAD/kWh | Editable lease/PPA tariff (linked to Cash Flow lease model)
Tariff escalation | 3% |  | Editable. 0.03 = 3% per year
Installed cost | 9500 | NAD/kWp | Editable installed cost
O&M | 1% | of capital cost/year | Editable. 0.01 = 1% of capital cost
PV degradation | 0.5% |  | Editable. 0.005 = 0.5% per year (SANS 10400-XA)
Project life | 20 | years | Editable project period
Discount rate | 10% |  | Editable discount rate
Region | South |  | Dropdown: Coastal, North, South, Central
Calculated Values
Calculation | Value | Unit | Formula basis
Max PV from breaker |  | kWp | Breaker capacity limit
Max PV from roof |  | kWp | Area available × roof factor ÷ panel area × panel power
Model PV size |  | kWp | Minimum of desired PV, breaker limit and roof limit
No. of panels |  | panels | Model PV size ÷ panel power
Capital cost |  | NAD | Model PV size × installed cost
Year 1 energy |  | kWh | Model PV size × selected regional specific yield
Roof area required |  | m² | No. panels × panel area ÷ roof factor
Year 1 grid energy cost |  | NAD | Year 1 energy × grid tariff
Calculated solar LCOE |  | NAD/kWh | Capital + discounted O&M divided by discounted kWh
Year 1 solar energy cost |  | NAD | Year 1 energy × calculated solar LCOE
Year 1 gross savings |  | NAD | Avoided grid cost before O&M
Year 1 O&M |  | NAD | Capital cost × O&M %
Year 1 net savings |  | NAD | Gross savings minus O&M
Tariff less solar LCOE |  | NAD/kWh | Grid tariff minus calculated solar LCOE
Energy Consumption Benchmarks
Building Type | Benchmark (kWh/m²/annum)
Commercial | 200
Retail | 300
Industrial | 250

## Cash Flow
Cash Flow with Annual kWh Production and Levelised Solar Cost
Year | Production kWh | Grid tariff NAD/kWh | Grid energy cost NAD | O&M NAD | Net cash flow NAD | Discount factor | Discounted net cash flow NAD | Cumulative cash flow NAD | Discounted energy kWh | Summary | Value
0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | NPV of net cash flow
1 | [9 empty] | IRR
2 | [9 empty] | Payback year
3 | [9 empty] | Calculated solar LCOE NAD/kWh
4 | [9 empty] | Grid tariff Year 1 NAD/kWh
5 | [9 empty] | Tariff less solar LCOE NAD/kWh
6 | [9 empty] | Year 1 net cash flow
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Year | Production kWh | Lease Tariff NAD/kWh | Solar energy cost NAD | Production kWh | Outright Purchase NAD/kWh | Solar energy cost NAD
0 | 0 |  |  | 0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## Sensitivity
Sensitivity: Tariff vs Solar LCOE
Values show Year 1 benefit: Year 1 energy × (grid tariff - solar LCOE)
Grid tariff / Solar LCOE | 0.8 | 1 | 1.2 | 1.4 | 1.6 | 1.8 | 2
1.5
2
2.5
3
3.5
4
Scenario | Grid tariff | Solar LCOE | Difference | Year 1 energy | Year 1 benefit
Current model
Low grid tariff | 2
High grid tariff | 3
Low solar LCOE |  | 1
High solar LCOE |  | 1.8
``

## Region Yields
Region Yield Lookup
Region | Specific yield | Unit
Coastal | 1600 | kWh/kWp/year
North | 1850 | kWh/kWp/year
South | 2000 | kWh/kWp/year
Central | 1900 | kWh/kWp/year